## Slide 1
TMVR: Programmatic challenges and technology needed to match surgical outcomes
Adam Greenbaum, MD
Co-director, Structural Heart and Valve Center
Emory University
Atlanta, GA, USA
16th Biennial Meeting
Punta Cana, Dominican Republic
January 30-February 3, 2022

## Slide 2: SMVR What we know…
Early intervention improves survival for degenerative MR
  Principles: address the leaflet pathology, address chordal support, annular reduction/support
Survival benefit with surgery for secondary MR less clear
  Principles: undersized annuloplasty ring, papillary muscle sling, anterior leaflet augmentation
  Higher recurrence with repair vs replacement- movement toward more valve replacement?
100
80
60
40
20
0
Survival %
years
0 5 10 15 20
Early
surgery
Medical
management
Log-rank P<.001
Suri R, et al., JAMA 2013;310:609-16
Chart: Functional MR
| Repair | Replacement
 | 32.6 | 2.3
Acker M, et al. NEJM
Degenerative MR

## Slide 3: TMVR What we know…
TMVR
  VIV, VIR, off-label VIM w/ sapien3 aortic THV
    Somewhat straightforward (VIV>VIR>VIM)
    Registry data only- acceptable outcomes
      Similar 6-11%, 30-day mortality as surgery after VIR
      <70% improved functional status after VIR, even less after VIM (patient selection vs procedural limitations)
Dedicated THVs- all still investigational
  Initially transapical- most now trans-septal
  Most still in feasibility/safety studies

## Slide 4: TMVR programmatic issues What we know and don’t know…
S3
  Very low volume per center
    Off label nature of VIM/VIR until recently?
    Fewer failed rings than originally thought or too many comorbidities/too sick?
Dedicated THVs-
  All still investigational in US
  Difficult to enroll
    Too many exclusions (anatomic and physiologic)?
System entry for referrals for MR
  Who is the gate keeper?
Mack M, et al. JACC. 2021
Guerrero M, et al. 2021
Only 16 centers performed 3 or more VIR procedures

## Slide 5
Valve alignment determined mainly by delivery wire in LV apex
Medial
Anterior
Posterior
Lateral
Typically more atrial
Typically more ventricular
RAO view
LAO view
TMVR technical challenges- PVL What we know…
*
α
D
H
S3 Maximum canting angle: 16°
(21° for S3U)
The annular-apical angle
Chart: CT-predicted Annular-apical Angle
| 9 | 16 | 20 | 20 | 5 | 10 | 17 | 13 | 24 | 31
Coresponding Canting angle to Greater EA | 8.6274 | 10.9295 | 14.8699 | 10.357 | 3.9452 | 0.59269 | 0.19757 | 8.0471 | 11.3099 | 15.8872
>mild PVL

## Slide 6: TMVR technical challenges- LVOT obstruction What we know…
Risk: VIM>VIR>VIV
  Incidence 8% (VIR) vs 2% (VIV)
Greatest predictor of morbidity and mortality during VIR (34% vs 2%)*
Largest cause of screen failures for TMVR trials
Fixed and dynamic causes
THV design (skirt) and delivery causes (canting and depth)
Prevention is the only reliable treatment
***Sung-Han Yoon et Al. JACC 2019; 12,2: 182-193

## Slide 7
Access strategy
  TA?
Increase the skirt
  29mm Schmultra, M3, etc.
Intraprocedural maneuvers
  ”Push-push”, posterior guide deflection
Wire exteriorization- aortic, para-apical
Increases 29mm S3 maximum canting angle from 16° to 21°
PVL during TMVR Attempted solutions…
Chart: PARAVALVULAR LEAK
| S3 | Modified S3
None | 2 | 5
Mild | 5 | 0
Moderate | 1 | 0
Severe | 0 | 0
p=0.001
n=6
Notes: Do not show to general audience

## Slide 8: LVOT obstruction Attempted solutions…
Methods to re-orient the transcatheter valve
  Poulez1
  Kissing balloons2
  Para-apical rail3
  More atrial placement- risks PVL
Methods to remove anterior leaflet
  Trans-atrial resection
  LAMPOON4
  BATMAN5
Methods to increase LVOT diameter
  Preparatory septal ablation6
  Percutaneous myotomy (SESAME)7
1Babaliaros VC. JACC Intv 2018, 2Rahhab Z EHJ 2018 3Greenbaum JACC Int 2020, 4Babaliaros VC JACC Intv 2017, 5Helmy T. CCI 2020 6Wang DD JACC Intv 2019, 7Khan M. Circ Intv 2022 (in review)

## Slide 9: TMVR- programmatic and technical challenges Possible solutions…
More data?
  “Real world” vs prospective trials vs randomized?
Do we first need better THV designs?
  Or just better adjunct therapies for alignment and the LVOT?
    Pre-shaped wires?
    Multidirectional delivery sheaths?
    Percutaneous myotomy?
Do we first need to understand who is likely to benefit?
  Are we selecting sicker patients for TMVR than those undergoing SMVR?